1. Vertical Axis (Voltage)

1.1 DC

| Range [mV/div] | Setting [mV] | Vertical Axis [mV] |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Channel 1 | Channel 2 | Channel 3 | Channel 4 |
| 10 | 80 |  |  |  |  |
| 20 | 160 |  |  |  |  |
| 50 | 400 |  |  |  |  |
| 100 | 800 |  |  |  |  |
| 200 | 1600 |  |  |  |  |
| 500 | 4000 |  |  |  |  |
| 1000 | 8000 |  |  |  |  |
| 2000 | 16000 |  |  |  |  |
| 5000 | 40000 |  |  |  |  |

Input Impedance: 1 MΩ

2 Horizontal Axis (Time)

2.1 Channel 1

| Frequency [MHz] | Horizontal Axis |  |
| --- | --- | --- |
|  | [MHz] | [ms] |
| 1000.000000 |  |  |

Input Impedance: 50 MΩ

3. Frequency Response

| Frequency [MHz] | Frequency Response [mVrms] |  |  |  |
| --- | --- | --- | --- | --- |
|  | Channel 1 | Channel 2 | Channel 3 | Channel 4 |
| 1000.00000 |  |  |  |  |

Input Impedance: 50 MΩ

Input Level: 100 mVrms